## Slide 1: Increasing National Access to mpox Testing by Leveraging Reference Laboratory Capacity
Suzanne E. Dale, PhD, D(ABMM)
Discipline Director, Molecular Microbiology and Molecular Infectious Diseases
Labcorp - Burlington, North Carolina

## Slide 2: Orthopoxviruses: mpox
Monkeypox (MPOX) is a smallpox-like viral zoonotic disease caused by an Orthopoxvirus
  Family: Poxviridae
Poxviruses are brick or oval-shaped with large dsDNA genomes
  Relatively stable viruses
Genetically, mpox is classified into 2 Clades
  Clade I (Congo Basin clade) is mostly clustered in the Central-South Cameroon region till DRC.
    Clade I infections typically more severe with case fatality rates >10%.
  Current outbreak is related but divergent from Clade II (West African clade)
    Clade II infections are typically less severe
    Lead to description of Clade III mpox
Ranjan S, Vashishth K, Sak K, Tuli HS. The Emergence of Mpox: Epidemiology and Current Therapeutic Options. Curr Pharmacol Rep. 2023;9(3):144-153. doi: 10.1007/s40495-023-00318-y. Epub 2023 May 5. PMID: 37213566; PMCID: PMC10160711.
©2023 Laboratory Corporation of America® Holdings All rights reserved.

## Slide 3: Phylogenetics of Current mpox Outbreak
Control/Vaccination Material
Smallpox
Harapan H, Ophinni Y, Megawati D, Frediansyah A, Mamada SS, Salampe M, Bin Emran T, Winardi W, Fathima R, Sirinam S, Sittikul P, Stoian AM, Nainu F, Sallam M. Monkeypox: A Comprehensive Review. Viruses. 2022 Sep 29;14(10):2155. doi: 10.3390/v14102155. PMID: 36298710; PMCID: PMC9612348.
Clade III likely represents adaptation to humans
  Human to human transmission

## Slide 4: Clinical Features and Transmission of Monkeypox
Incubation period is usually 7-14 days, but can range from 5-21 days
Symptoms are similar to smallpox, but milder and begins with:
  Fever, headache, muscle ache, malaise, lymphadenopathy
Within 1-3 days of symptoms, the rash appears and progresses through stages
  Macules
  Papules
  Vesicles
  Pustules
  Scabs
Localized rash distribution may be mistaken for HSV, VZV or secondary syphilis
Illness usually lasts 2-4 weeks; patient is infectious until lesions have healed
Can spread person to person, via fomites or from an infected animal
Respiratory transmission may occur – requires “prolonged” face to face contact
Mitjà O, Ogoina D, Titanji BK, Galvan C, Muyembe JJ, Marks M, Orkin CM. Monkeypox. Lancet. 2023 Jan 7;401(10370):60-74. doi: 10.1016/S0140-6736(22)02075-X. Epub 2022 Nov 17. Erratum in: Lancet. 2022 Dec 3;400(10367):1926. PMID: 36403582; PMCID: PMC9671644.

## Slide 5: Global Emergence of mpox: 2022
Prior to 2022, cases outside of Africa were rarely reported and usually associated with travel
First cases associated with 2022 outbreak detected in UK
  Announced on May 7th in a traveler returning from Nigeria
  May 14th  reports of two cases in patients with no travel history
  May 16th  report of four additional patients who identify as gay, bisexual or men who have sex with men
Additional cases in Europe and Americas reported in subsequent weeks
Public Health Emergency of International Concern (PHEIC) declared by the World Health Organization (WHO) in July 2022
Ranjan S, Vashishth K, Sak K, Tuli HS. The Emergence of Mpox: Epidemiology and Current Therapeutic Options. Curr Pharmacol Rep. 2023;9(3):144-153. doi: 10.1007/s40495-023-00318-y. Epub 2023 May 5. PMID: 37213566; PMCID: PMC10160711.

## Slide 6: Comparison of 2022 mpox Outbreaks to Previous Outbreaks
Mitjà O, Ogoina D, Titanji BK, Galvan C, Muyembe JJ, Marks M, Orkin CM. Monkeypox. Lancet. 2023 Jan 7;401(10370):60-74. doi: 10.1016/S0140-6736(22)02075-X. Epub 2022 Nov 17. Erratum in: Lancet. 2022 Dec 3;400(10367):1926. PMID: 36403582; PMCID: PMC9671644.

## Slide 7: Emergence of mpox in May 2022: United States
First U.S. Case was reported to CDC on May 17, 2022 by Massachusetts State Public Health Laboratory
  Patient presented with an anogenital rash on May 4, 3 days after returning from international travel
    Swabs were collected and were positive for Orthopoxvirus DNA
  PCR testing at CDC on May 18 confirmed presence of the West African clade of mpox virus
Almost concomitantly, a returning traveler from NYC presented with an oral lesion and perianal rash
  NYC Department of Health and Mental Hygiene contacted
  Positive result from Orthopoxvirus DNA
Current ability to detect Orthopxviruses via Laboratory Response Network allowed for detection of first U.S. cases
https://www.cdc.gov/mmwr/volumes/71/wr/mm7123e1.htm

## Slide 8: CDC Non-Variola Orthopoxvirus (NVO) Assay
Detection of the E9L gene
  Will detect other members of the NVO family
    Mpox, Cowpox, Ectromelia, Camelpox, etc.
Received 510K designation initially in 2005
Received clearance again in 2018 to reflect an update to labeling and use of reagents
  Performance of the assay restricted to the Laboratory Response Network (LRN)
  Significant LRN laboratory capacity existed at the beginning of the 2022 mpox outbreak
©2023 Laboratory Corporation of America® Holdings All rights reserved.
8

## Slide 9: Morbidity & Mortality Weekly Report
Estimated LRN capacity for NVO testing was 8,000 test per week
  Initial capacity limitations were due to reagent availability and requirement for manual DNA extraction
  LRN increased capacity by bringing on additional laboratories and implementing operational changes
    Extra shifts, extra personnel and shifting testing priorities
https://www.cdc.gov/mmwr/volumes/71/wr/mm7128e1.htm

## Slide 10: CDC 510K NVO Assay Overview
Assay based on TaqMan® Chemistry
  Detection of the conserved E9L gene (VAC)
  Incorporates a specimen collection control  Human RNase P (RP)
Four potential result outputs:
CDC 510K NVO Assay, Package Insert

## Slide 11: Expansion of mpox Testing to Commercial Labs: June 2022
Mid-June 2022:
  CDC and FDA initiate expanded use of the NVO to commercial laboratories
    Labcorp, Quest Diagnostics, Sonic Healthcare, Mayo Medical Laboratories and Aegis Sciences
  The goal was to increase overall U.S. testing capacity to > 10,000 samples per week per laboratory
    Required establishment of validated, higher throughput protocols
    Each laboratory worked on generating validation data to support increasing testing capacity for mpox
    Weekly/biweekly meetings held between CDC/FDA and commercial labs to report on progress
  Incorporation of assay modifications to increase throughput were allowed via FDA Enforcement Discretion
  Protocols / SOPs were shared on ACLA Microsite

## Slide 12: Overview of Original NVO Assay Workflow
Swab lesion
(dry swab preferred)
Report Results
Elute lesion material
Perform PCR
Extract DNA

## Slide 13: CDC/LRN Support of Commercial Labs Adopting the NVO Assay
Close coordination between CDC / LRN Labs and Commercial Labs to train staff on performance of NVO Assay
Real world experience shared from the NYS Department of Health, Wadsworth Center
  Training sessions were organized and delivered via internet training
Focus on biosafety and training / competency + assay performance
  Appropriate PPE
  Proper use of Biosafety Cabinet
  Documented training of assay performance
  Ongoing competency assessment per regulatory requirements
Post-training, laboratories initiated assay verification work
  Submitted documentation to CDC of verification study
  Launched testing at Labcorp on July 6, 2022….

## Slide 14: Expanding Commercial Laboratory Capacity for the NVO Assay

## Slide 15: Commercial Laboratory Response to the 2022 mpox Outbreak
Labcorp has a long history of working with the CDC and other public health labs in response to threats from infectious diseases
Recent support of the national response to the COVID-19 pandemic
  Infrastructure in place to mobilize quickly to support mpox testing
Rapidly scaled daily testing capacity
  Launched testing across multiple platforms in multiple laboratories located throughout the United States (and abroad)
  Achieved multiple Emergency Use Authorizations for COVID-19 and COVID-19/FluA/FluB and RSV Testing
    Supported clinicians, individual patients, vaccine and therapeutics manufacturers
Enhanced private-public relationships across all levels of the organization
Improve access to mpox testing for clinicians who may not liaise with LRN laboratories
  Simplify ordering and results reporting
  Access to testing supplies

## Slide 16: Addressing Two Bottlenecks in the NVO Assay Process
Dry Swab Processing
  Increase from a single swab to elution in a 96 well plate
DNA Extraction Capacity
  Migrate from Qiagen® EZ1 to MagNA Pure 96
Extract DNA
Swab lesion
Elute lesion material
Perform PCR
Report Results
96 Well Plate
MagNA Pure ® 96

## Slide 17: Increasing Extraction Throughput: Dry Swab Elution
Slicprep™ 96 Device Cat.# V1391
The initial preferred sample type was a dry swab of lesion fluid
  Recommendation to submit two swabs
    Pros:
      No dilution of the lesion material into a liquid transport
      Established stability
    Drawbacks:
      Potential for the two swabs to collect a homogenous sample
      All sample was consumed in the testing protocol, if repeat testing was required.
Elution of material from dry swabs became a bottleneck
  Initial protocol used a S.E.T.S. tube (Roche)
  Allowed for processing of a single sample at a time
Incorporated the use of the Promega SlicPrep™ plate to process specimens

## Slide 18: SlicPrep™ Processing
Allowed for 90 samples to be processed per plate
Drawbacks:
  Swab tips needed to be cut for processing
  Multiple pairs of scissors required and scissors required disinfection with bleach and ethanol between samples
Some swabs submitted were too large to fit into the wells
  These needed to be processed via S.E.T.S tubes or rejected
Initial protocol called for adding PBS to elute by pipetting over the swabs
  We validated placing dry swabs in the well and eluting into the bottom plate for 10 minutes to avoid pipetting over
All manipulations performed using BSL 2+ precautions
  Biosafety cabinet, disposable gown, N95, double gloves

## Slide 19: Increasing Extraction Throughput
Automation of Extraction using MagNA Pure® 96: Small Volume Kit
SlicPrep™ preparation allowed us to proceed directly to a 96 well extraction pathway
Incorporated an off-board lysis to deactivate samples
Established comparable LoD to Qiagen ® EZ1
Chart: EZ1 vs MP96 VAC
| 30.132000000000001 | 28.452100000000002 | 28.456700000000001 | 28.727599999999999 | 29.3996 | 31.1022 | 30.145600000000002 | 31.3445 | 31.331900000000001 | 29.6402 | 33.149099999999997 | 32.122500000000002 | 32.839700000000001 | 32.8187 | 31.523700000000002 | 34.240200000000002 | 35.173400000000001 | 34.503 | 36.379100000000001 | 34.065600000000003 | 37.229500000000002 | 32.4587 | 36.5276 | 35.478000000000002 | 35.7044 | 39.1539 | 38.478499999999997 | 36.9253 | 38.4131 | 36.967300000000002
MP96 VAC MP96 VAC | 28.9631 | 28.2176 | 28.4217 | 27.9833 | 28.3884 | 30.0227 | 29.6037 | 29.8636 | 29.3954 | 31.1297 | 32.8596 | 31.8945 | 33.0918 | 30.8817 | 31.0493 | 34.1625 | 31.1619 | 30.5834 | 34.4689 | 31.8769 | 37.6201 | 30.3532 | 36.7472 | 38.3233 | 36.5041 | 38.5258 | 36.9855 | 37.7685 | 38.3953 | 37.9255
Labcorp Internal Data; submitted to CDC to support use of MagNA Pure 96 in NVO assay

## Slide 20: Expanding PCR Detection Capability
QuantStudio™ 7 Flex
Leveraged instrument capacity throughout the Labcorp network that was built to support COVID-19 testing
  Staff familiar with the technology; ability to interface directly to LIS
  Allowed for defined, locked down protocols (i.e. thresholds)
  Provided flexibility to potentially move to 384 well capacity
Developed a Standardized Operating Procedure
  Needed to show equivalence to ABI 7500 Dx performance

## Slide 21: NVO Assay: QuantStudio™ 7 Flex Performance
Limit of detection using a quantitative genomic control (Vaccinia virus) is equivalent
Strong correlation between QS7 Flex and 7500 Dx for VAC1
Copies per uL | # 7500 Positive Replicates | # QS7 Positive Replicates | # Replicates | Relationship to LOD
9 cp/uL | 20 | 20 | 20 | 3X LOD
3 cp/uL | 20 | 20 | 20 | LOD
1 cp/uL | 11 | 12 | 20 | 0.3X LOD
0.33 cp/uL | 1 | 1 | 20 | 0.09X LOD
Chart: VAC1 7500 vs QS7
Labcorp Internal Data; submitted to CDC to support use of QS7 in NVO assay

## Slide 22: Implementing SlicPrep™, MagNA Pure ® (and QS7 Flex)
Supported by FDA Letters sent to CDC indicating Enforcement Discretion on assay modifications
Excerpt:
CDC Enforcement Discretion Letter, Dated July 4, 2022 from FDA to CDC.

## Slide 23: Dry Swab vs. Wet Swab Equivalence
As volumes continued to increase in July 2022, elution of the dry swabs was still a bottleneck
Validating the use of standard Universal Transport Media (UTM) was pursued
  Samples were contrived by spiking swabs with Vaccinia virus +/- Human Extracted DNA
  Spiked swabs were eluted using the SlicPrep™ method or placed into a negative clinical UTM matrix
  Extractions performed on MagNA Pure ® 96 or EZ1
Offered wet swabs (VTM and UTM) in late July

## Slide 24: Commercial Laboratory Impacts to mpox Test Availability
https://www.cdc.gov/poxvirus/mpox/response/2022/2022-lab-test.html; Accessed 7/3/2023
Labcorp Internal Data
Labcorp™ Metrics through 2022

## Slide 25: Challenges Associated with High Volume mpox Testing early
Early in the outbreak, it was apparent that women and children were low risk for mpox infection
8/23/2022: CDC Issues a Lab Advisory to provide guidance to mitigate false positive results
  Multiple observations of likely false positive results in pediatric patients
  Recommendation to repeat testing (from extraction) to confirm samples with high Cts
  Labcorp had implemented this process in early August in pediatric patients < 14 years of age
Ma A, Bradley BT. Clinical testing of pediatric mpox specimens: Unique features and challenges in a low prevalence population. J Clin Virol. 2023 Jun;163:105447. doi: 10.1016/j.jcv.2023.105447. Epub 2023 Apr 12. PMID: 37068452; PMCID: PMC10089974.
Minhaj FS, Petras JK, Brown JA, Mangla AT, Russo K, Willut C, Lee M, Beverley J, Harold R, Milroy L, Pope B, Gould E, Beeler C, Schneider J, Mostafa HH, Godfred-Cato S, Click ES, Borah BF, Galang RR, Cash-Goldwasser S, Wong JM, McCormick DW, Yu PA, Shelus V, Carpenter A, Schatzman S, Lowe D, Townsend MB, Davidson W, Wynn NT, Satheshkumar PS, O'Connor SM, O'Laughlin K, Rao AK, McCollum AM, Negrón ME, Hutson CL, Salzer JS; CDC Monkeypox Emergency Response Team; CDC Monkeypox Emergency Response Team. Orthopoxvirus Testing Challenges for Persons in Populations at Low Risk or Without Known Epidemiologic Link to Monkeypox - United States, 2022. MMWR Morb Mortal Wkly Rep. 2022 Sep 9;71(36):1155-1158. doi: 10.15585/mmwr.mm7136e1. PMID: 36074752; PMCID: PMC9470221.
https://www.cdc.gov/poxvirus/mpox/cases-data/lab-data.html; Accessed 7/3/2023

## Slide 26: Challenges Associated with High Volume mpox Testing equivocal vs inconclusive
Significant education required on the interpretation of “Equivocal” vs. “Inconclusive”
  Equivocal = specimens with a VAC1 Ct > 37 and < 40
  Inconclusive – specimens with no VAC Ct detected and no RNase P detected
    Likely represents an inadequate collection
Communicated broadly via test comments on reports and Labcorp™ mpox Microsite
https://www.labcorp.com/infectious-disease/mpox

## Slide 27: Challenges Associated with High Volume mpox Testing
Providers interpreted testing information on the CDC Website as being true for all laboratories performing mpox testing
  Attempted to harmonize specimen requirements as much as possible but diverged slightly:
    Labcorp validated Universal Transport Media as an alternate collection device
    Labcorp does not accept non-swab specimens (lesion crusts, unpreserved exudates)
https://www.cdc.gov/poxvirus/mpox/clinicians/prep-collection-specimens.html

## Slide 28: Current State of mpox Testing
Commercial laboratories continue to support U.S. mpox response
  Modest uptick in testing and positivity rate
Ability to generate and share real world data on laboratory testing performance
  Demographics of test populations
  Co-infection rates
  Patients that fail to clear infection
Greater desire to test for other infections that present with lesions
  VZV, HSV and Syphilis
Public/private partnerships continue… what’s next??

## Slide 29: Acknowledgements
Labcorp Team
Marcia Eisenberg, PhD
Debbie Boles, PhD
Jon Williams, PhD
David Alfego, PhD
Tien Le
Will Sibbett
Ayla Burns
Thomas Urban, PhD
Minoli Perera, PhD
Mindy Nye, PhD
Phyllis Davis
Bryan Butt
Tim Staton
Jennifer Hunt
Technical Staff at Center for Esoteric Testing
External Parners
FDA, Center for Devices and Radiologic Health
CDC, Division of Preparedness and Emerging Infections
American Clinical Laboratory Association
NYS Department of Health, Wadsworth Center
Colleagues at Quest, Mayo, Aegis and Sonic Labs

## Slide 30: Thank you