## 2023
Monitor | Phase of Testing | Goal Definition *data collection for monitors will be kept in the QTRLY manual compiled each quarter | Bench Mark | Type of Benchmark or Regulatory Requirment | Data Source | 2022 Q4 | QTR Result (if applicable) Q1 Q2 Q3 Q4 |  |  |  | Green | Yellow | Red | ACTION - FOLLOW UP - COMMENTS
QUALITY VARIANCE REPORTS
- Collection Issue - delayed - LAB staff | Pre-analytical | All reported delayed collection issues | < Prev yr. avg. | Historical | Incident Reports | 10 | 8 |  |  |  | ≤15 | 15-20 | >20 | All phlebs/techs followed up with for events. 1 miscommunication on recollect between phleb/tech.
- Specimen Acceptability - Mislabeled / Unlabeled - Non-lab staff | Pre-analytical | All mislabeled/unlabeled specimen events | < Prev yr. avg. | To set/Historical | Incident Reports | 13 | 18 |  |  |  | <30 | 30-40 | >40 | 1 TM sample, 4 body fluids, 6 swabs, 2 urines, 1 umbilical cord, 1 blue, 3 blood samples. Unit manager follow up documented in incident report.
- Specimen Acceptability - Specimen rejections - Lab staff | Pre-analytical | All specimen collection rejections for: IV contamination, hemolysis, clotted, or QNS. Includes BMCE, BMCW, PLL, and all staffed BPN Clinics. | < Prev Qtr avg | Historical | KPI dashboard | N/A | 1115 |  |  |  | <810 | 811-1154 | >1155 | 1115 recollections. Reducation for new hires and staff with higher rejection rates. New metric for 2023. QIP. % Overall.
- Corrected Reports | Post Analytical | All corrected reports, excluding Micro appended reports and Send out results | < Prev yr. avg. | Historical | Incident Reports | 42 | 61 |  |  |  | ≤14 | 15-20 | >20 | 27 A1C corrected due to instrument issue (Resolved) 6 wrong patients (RT, POC glucose scan, Tech in Epic, HMS, Telcor ID) 2 venous samples- RRT 17 chart errors (manually and autoverification) 4 sendout errors 2 submitter errors Corrected reports QIP on going.
- Critical Values | Post Analytical | All critical results called within 45 min of result availability (Excludes micro, CBC's, and those documented with call attempt) | 0 | CAP, TJC, Patient Safety Goal | KPI dashboard | 16 | 23 |  |  |  | 0 | 1 - 19 | >20 | 10 - Chemistry 1 - Hematology 1 - Blood Gas 2 - Coag 9 - Total Bilirubin Majority are non-patient samples after hours with no call documentation.
- Blood Culture Contamination - Laboratory Collections | Pre-analytical | Goal: At or below 2.5% contamination. Benchmark: at or below 3.0% contamination. CLSI M47 ASM article January 2020. | 2.5% | CAP | - Beaker - Dashboard reports - Micro Reports | 2.1 | 2% |  |  |  | < 2.5% | 2.6% - 3.0% | >3.0% | 103 out of 5261 contaminated. Quality Assurance Plan completed for staff above 10%.
- Blood Culture Contamination - Nurse Collections | [5 empty] | 3.1 | 3.6% |  |  |  | < 2.5% | 2.6% - 3.0% | >3.0% | 17 out of 473 contaminated. Contamination team to present recommendation for default collections on lab workgroup meeting in June.
TM - Blood Administration
- Direct Observation Errors – EAST | Post Analytical | Stretch goal - Zero failures TM Staff directly observe nursing staff - audit of blood administration in various locations at both campuses, failures are reported via BSAFE Incident reporting system and is tasked to the Unit RN manager. | 12 observations | CAP, AABB, TJC, Historical | Direct Observation Checklists | 3% | 0% |  |  |  | 0% | 0.1% - 2.0% | >2% | No Errors at East or West 5 observations at West 7 observations at East
- Direct Observation Errors – WEST |  |  | 6 observations |  |  | 15% | 0% |  |  |  | 0% | 0.1% - 2.0% | >2%
- Wasted Products | Post Analytical | Waste due to unused products, remaining outside of required temp, damage to bags | 1% - 5% of products | Am J Clin Pathol March 2015; 143:318-319 | Transfusion Statistics | 3.95% | 3.91% |  |  |  | <2.5% | 2.5-4.9% | >5.0% | 54 wasted at East: 16 OB plasma, 11 issued and returned out of temp, 13 RBCs expired, 8 expired platelets 33 wasted at West: 11 Trauma plasma, 14 issued and returned out of temp, 1 RBCs expired, 4 expired platelets 87 wasted; 2225 transfused
TM - Laboratory Errors
- QA failures | Pre-analytical, Analytical, Post Analytical | Majority of issues fall into the categories of computer entry or failure to follow SOP | Zero | CAP, AABB, FDA, No Ref, Historical | Manual tracking - Excel spreadsheet and Incident reports | 19 | 12 |  |  |  | <5 | N/A | >5 | 1-order error 5-Safetrace documentation 1- Exp reagents used. 1-wrong product allocated 2-reporting error 1-AB workup documentation. 1-DAT reported as invalid. Follow up documented with all staff.
- FDA Reportable Events | Post Analytical | FDA reportable biologic product deviation reports | Zero |  |  | 0 | 0 |  |  |  | 0 | N/A | >0 | None
Clinical Laboratory - Additional Quality Reports
- Proficiency Testing - EAST | Pre-analytical, Analytical, Post Analytical | >99.0% accuracy rate | N/A | CAP, CLIA | Manual tracking - PT Shipping and Scorecard | 99.85% | 99.06% |  |  |  | >99.00% | 98.00-99.00% | <98.00% | 5 - FH901 - HCT, MCV, MCH, MCHC, and RDW 1 - glucose low CM-01 2 - WBC and RBC high on UAA-01
- Proficiency Testing - WEST |  | >99.0% accuracy rate | N/A |  |  | 99.54% | 99.42% |  |  |  | >99.00% | 98.00-99.00% | <98.00% | 5 - Viral Markers Series 6 Add'l Mat not assigned or performed 1 - GAS 02 Pos/Neg Q4 2022 reported as 99.77%. Finalized at 99.54%
- Proficiency Testing - PTCN | Pre-analytical, Analytical, Post Analytical | Eliminate any PTCN's from CAP | Zero |  | CAP | [5 empty] | 0 | N/A | >0
- Proficiency Testing PTCN | Pre-analytical, Analytical, Post Analytical | Eliminate any PTCN's from CAP | Zero | CAP,CLIA | CAP | 0 | 1 |  |  |  | 0 | N/A | >0 | Viral Markers Series 6 Add'l Mat PTCN - Not assigned. Alt assessment performed, passed, and documented.
- Courier errors result in recollects per patient | Pre-analytical | Eliminate clinic recollect | Zero | BMC Lab Goal | Incident Reports | 6 | 2 |  |  |  | 0 | N/A | >0 | Room temp. samples were left behind. Refrigerated and Frozen samples were picked up. Phleb. had to leave at 1340 to cover another clinic, filled out pickup sheet and left sample in green bins. QIP followed. 2 recollections
- Newborn Screening collection times | Pre-analytical | Eliminate outliers (<24 or >48 hours) | Zero | DHHS | DHHS | 0 | 1 |  |  |  | 0 | N/A | >0 | 1 - delay due to holiday
- Newborn Screening rejections | Pre-analytical | Rejected samples | See report | CAP, CLIA, DHHS | DHHS | 1 | 0 |  |  |  | 0 | N/A | >0 | None
Safety
- Accident/Incident and Follow Up Report | Pre-analytical, Analytical, Post Analytical | Exposures, Contusions, Lacerations, Strains and All Other Injury Types | N/A | CAP, AABB, JC, CLIA | Reports from Safety Officer | 4 | 1 |  |  |  | <3 |  | >3 | 1 - fall in grass. Facilities to install walkpath.
- Patient Harm Events |  | No patient harm events for the quarter | N/A |  | Report from Quality (Incident Reports) | 2 | 1 |  |  |  | 0 |  | >1 | 1 - Lumbar puncture performed, White count did not meet the criteria for this test. Ordering Physician was not notified of this test being canceled and not sent out. Lumbar puncture needed to be redone. Planview entered to require hard stop for count and diagnosis.
- Tourniquets left on |  | No tourniquets left on patients | Zero |  | Report from Quality (Incident Reports) | 3 | 9 |  |  |  | 0 |  | >1 | West - 3 East - 6 All phleb staff followed up with and corrective action documented
Feedback Reports
- Provider/Clinician Feedback | Pre-analytical, Analytical, Post Analytical | MD Satisfaction | 90th %ile | CAP, AABB, JC, CLIA | Medical Staff Services Report | N/A | 2020 93rd %ile | 2021 84th %ile | 2022 4.17 | 2023 | >90th %ile | N/A | <90th %ile | Results to be available in May 2023. Will report out in Q2.
- APP Feedback |  | APP satisfaction | 90th %ile |  | Medical Staff Services Report | N/A | 2020 3.80 | 2021 4.03 | 2022 3.77 | 2023 | >90th %ile | N/A | <90th %ile | Results to be available in May 2023. Will report out in Q2.
- Patient Feedback |  | OP Satisfaction | 74th % Pos |  | Catalyst NRC Picker | 86% | 88.4% |  |  |  | ≥ 84.9% | 83.3% - 84.9% | < 83.2% | 2 service recoveries completed.
Personnel
- Employee Engagement Score |  | Overall Clinical Laboratory |  | Bryan Health | Press Ganey Employee Engagement Survey | N/A | 2020 4.20 | 2021 4.10 | 2022 4.15 | 2023 | >75th %ile | 50th %ile - 74th %ile | <50th %ile | Results to be available in May 2023. Will report out in Q2.