## Slide 1: Lab Test Volume/Productivity to advocate for your Lab

## Slide 2: Increasing Pressures on Diagnostic Testing
Healthcare executives understand the importance of the diagnostic lab to patient care; as many as 70 percent of clinical decisions are based on in vitro diagnostic lab results.
Unfortunately, three crucial healthcare trends present serious
challenges for diagnostic laboratories:
  Growing test volume
  Shortage of staff
  Decreasing reimbursements

## Slide 3: Increasing Pressures
Test volume continues to rise due to:
  Growing and aging population
  Continuous introduction of new lab tests
  Enhancing proactive measures in managing disease-states more effectively.

## Slide 4: Test Volume Metrics and Productivity
Test Volume Metrics can help review and optimize the following:
  Productivity
  Staffing
  Implementation of Automation
  Eliminate wasteful steps and motion
  Align equipment to workflow so staff can move more efficiently
  Optimize processes before automating to standardize and ensure consistency

## Slide 5: Other Metrics
Monthly and Daily volume
Hourly test volume
Monthly Productivity
Hourly Productivity
Instrument Capacity

## Slide 6: Metrics-Volume by encounter and Volume by ordering location

## Slide 7: Volume by Tests, Samples, Patients, Panels

## Slide 8: Order Volume: Filter by Test Volume, Department, Order Name, Ordering MD, Location