## Health System Labs
Item | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Analyzers / Processors
Entity A
Heme Analyzer |  |  | 2 - (ESR) |  |  | X |  |  |  | ESR |  | X
Coag Analyzer | [6 empty] | X | [5 empty] | X
UA Analyzer |  | 2 | [6 empty] | X | [6 empty] | Aligned
Chem Analyzer |  | 2 |  | Blood gas |  |  |  |  | X |  | Blood gas |  |  |  |  | Shift year?
Front end automation |  |  |  | X | [11 empty] | Not aligned
TM Analyzer | [6 empty] | 2
Flow cytometry |  |  |  | X | [6 empty] | X
POCT |  |  |  |  | TEG? 3 iSTAT updates
Micro Analyzer | 1 Cepheid, Bactec FX 1 East and 1 West |  | CO2 incubator and 1 BSC, upgrade Cepheid |  |  | Verigene and MALDI
Centrifuges
EBA20S | 2 | 2 | 2 | 2
StatSpin
Cytocentrifuge |  | 2
Other
Heme |  |  | Microscopes - 4 E, 4W and 2 slide stainers (Hematek) | [6 empty] | 2 Slide stainers
TM | Plasma thawer |  | W plt rotator, Blood track refrigerator?
Micro | Micro Incubator, Blood cultures/ Incubator | [5 empty] | Slide stainer | [6 empty] | Slide stainer
Entity B
Heme Analyzer |  |  | Clinic A&B |  | X
Heme ESR
Coag Analyzer | [5 empty] | X |  |  | X
UA Analyzer | Hosp - Status + |  |  |  |  | Clinic A&B |  |  | X
Chem Analyzer |  |  |  | Hospital Blood Gas (EPOC), Clinic A1C |  | Allign with Entity A? Clinic A&B -piccolo |  |  | Entity A
TM Analyzer |  |  |  |  | X
Micro Analyzer |  |  |  |  | X
Centrifuges
EBA20S
StatSpin | Hosp |  | Clinic B |  | Clinic A |  |  | Hosp
Other
Heme |  |  | Microscope
TM
Micro | GX expansion |  | Microscope, Incubator, BSCII |  |  |  |  | Blood Culture incubator
Chem Refrigerator
Micro Refrigerator
Freezer |  | TSX
Entity C
Heme Analyzer | sysmex XN 1000i | [6 empty] | x
Heme ESR | ESR Stat-6 | [6 empty] | x
Coag Analyzer |  | ACLtop 350 | [6 empty] | x
UA Analyzer |  |  | Clinitek x3 | [6 empty] | X
Chem Analyzer |  |  | Atellica /VIDAS
TM Analyzer | Ortho Blood Bank Station | [6 empty] | x
Micro Analyzer | Micro Incubator (Bac-T alert), Used Blood culture incubator | Vitek 2, TORCH |  | replace Blood culture incubator? |  |  |  |  | Micro incubator, Vitek 2, TORCH
Centrifuges
EBA20S
StatSpin | 1 |  | 2
Other
Heme |  |  | Microscope
TM | Blood bank fridge |  | Blood bank centrifuge |  |  |  |  | x
Micro |  |  | Microscope
Merrick fridge | 1 |  | 1
Merrick Freezer |  |  | 1
Urinalysis |  |  | Microscope, Urine centrifuge
Coaguchek |  |  | 3
Glucose meters |  |  | 3
Hemapoint |  |  | 1
Istat | [6 empty] | x
Lead Care | [6 empty] | x
BD veritor |  | 4 | 4 | 4 | 4 | 4
Entity D
Heme Analyzer
Heme ESR
Coag Analyzer
UA Analyzer
Chem Analyzer
TM Analyzer
Micro Analyzer |  | Blood culture
Entity E
Heme Analyzer
Heme ESR
Coag Analyzer
UA Analyzer
Chem Analyzer
TM Analyzer
Micro Analyzer |  | Blood culture