## 1 per day
1 month, 1 test/day
Expenses | Yearly Costs | Option 1 | Option 2 |  | Calculation | Follow up / additional info needed
Test reagent/test |  |  |  |  | Test Reagent = (1 test/day + QC (2 levels)) x 30 Days + PT avg per mo (total/12)
Quality Control/test |  |  |  |  | QC reagent = QC included in kit (2 levels per month)
Calibrators/test |  | 0 | 0 |  | Calibrator = N/A
Proficiency testing/test |  |  |  |  | PT survey = avg per mo (total /12)
Total cost per test | 0 | 0 | 0
Revenue | Reimbursement
BCBS |  |  | 0 |  | Revenue = (BCBS reimb *5 tests) x 30 days
CMS |  |  | 0 |  | Revenue = (CMS reimb *5 tests) x 30 days
Total |  | 0 | 0
CPT code/s
Variance
Excess Revenue over Expenses |  | 0 | 0 | 0
Annual |  | 0 | 0 | 0

## EXAMPLE 1
| Annual tests per year: |  | 805
Expenses | Yearly Costs | Option A (Current) | Option B (Proposed) |  | Calculation | Follow up / additional info needed
Test reagent/test |  | 38 | 36.48 |  | Test Reagent = Cost for kit/box | Option A $38/ test, Option B $36.48/ test
Quality Control/test |  | 0 | 0 |  | QC reagent = 2/day x 30 days or per IQCP. | Option A QC: N/A, Option B QC: 79.97/5 sets, performed each new lot and shipment.
Calibrators/test |  | 0 | 0 |  | Calibrator = avg per mo | N/A
Proficiency testing/test |  | 0.59 | 0.59 |  | PT survey = Cost per year | Option A and Option B: $474/ year (same survey)
Total cost per test | 0 | 38.59 | 37.07
Revenue | Reimbursement
BCBS |  | 123.61 | 123.61 |  | Revenue = (BCBS reimb *5 tests) x 30 days | Need to modify based upon payer mix (assumed 50:50)
CMS |  | 89.29 | 89.29 |  | Revenue = (CMS reimb *5 tests) x 30 days | Need to modify based upon payer mix (assumed 50:50)
Total |  | 106.45 | 106.45
CPT code/s
Variance
Excess Revenue over Expenses |  | 67.86 | 69.38 | 1.52
Annual |  | 55101.3 | 56404.87 | 56337.01

## EXAMPLE 2
Per test price at 2069 tests per year
Expenses | Yearly Costs | Option A | Option B |  | Calculation | Follow up / additional info needed
Test reagent/test |  | 2.34 | 24.5 |  | Test Reagent | Option A: $70.23 per Kit, 30 Tests per Kit, Cost: $2.34/Test. Option B: $24.50/Test
Confirmation Testing |  | 0.1 | 0 |  | Confirmation Testing | Option A: Culture; Option B: None
Quality Control |  | Included w/ Kit | Included w/ Kit |  | QC reagent | Included with Kit, performed every lot and shipment
Calibrators |  | N/A | N/A |  | Calibrator = N/A | Comes with kit
Proficiency testing/year |  | 190 | 525 |  | PT survey = avg per mo (total /12) | Option A: $190/ 4 samples per year, Option B: $525/ 3 samples per year
Total | 0 | 2.44 | 24.5
Revenue | Reimbursement
Medicare (CPT 87430) |  | 16.81 | 0 |  | Revenue | Medicare is the only reimbursement given, not all tests will require confirmation.
Medicare (CPT 87081) |  | 6.63 | 0
Medicare (CPT 87651) |  | 0 | 35.09
Total |  | 16.81 | 35.09 | Variance
3.78
Excess Revenue over Expenses |  | 14.37 | 10.59 | 7485.82
Annual |  | 29921.53 | 22435.71