## Sheet1
Date | Incident report | Area | Tech Involved | Root cause | Follow-up
2023-01-03 | 140848 | Chemistry | Carrie C | Random analytical error | Probes changed. Pooled precision study. Patient meds and results reviewed. QC and maintenance review all OK. Specialist has investigation open with Siemens. Specialist to review delta flagging for B12.
2023-01-10 | 141100 | ED | Non-lab | Bloody urine assumed to be loose stool. Stool occult blood ran on urine. | RN correct labeling and source on all specimens. Data control and SPT not assuming what source specimen is if not labeled appropriately.
2023-01-12 | 141201 | Respiratory | Non-lab | Art blood gas was actually venous. RT requested recollect. | Recollected by RT. Results credited and errored out.
2023-01-18 | 141528 | Heme | Jessica | Transcription error from body fluid sheet to Epic | Corrected. Merixson followed up with tech.
2023-01-23 | 141736 | POC gluose | Non-lab | Scanned wrong barcode | Unit manager followed up with RN on red rules
2023-01-23 | 141747 | Heme | Liz | Chose wrong patient in Epic/Red rules | Corrected results immediately. Merixson reviewed.
2023-01-23 | 141754 | Heme | Sandra | Blast called but not confirmed by path | Merixson discussed with Sandra.